[image: image1.jpg]%% CAPITOL

{7 ALUMINUM & GLASS CORP.





Page 5 of 5

SECTION  085113  (08520)


325ES-I Series Aluminum Windows
This suggested guide specification has been developed using the current edition of the Construction Specifications Institute (CSI) “Manual of Practice”, including the recommendations for the CSI 3 Part Section Format and the CSI Page Format.  Additionally, the development concept and organizational arrangement of the American Institute of Architects (AIA) MASTERSPEC Program have been recognized in the preparation of this guide specification.  The preparation of the guide specification assumes the use of standard contract documents and forms, including the “Conditions of the Contract”, published by the AIA.
PART 1 – GENERAL
1.01
Summary



A. 
Furnish and install architectural aluminum windows complete with 



hardware and related components as shown and specified in this section.




B. 
The window unit shall be the Model 325ES-I as manufactured by Capitol 



Aluminum & Glass Corporation.  It shall be constructed from thermally divided 


aluminum framework capable of accepting up to 2-1/2" thick insulated panel and  





1" insulated glass. Frame depth shall not be less than 3-1/4".                      
   

C. 
Other manufacturers requesting approval to bid their product as an equal must 


submit the following information ten (10) days prior to the bid.



1. 
Product specifications and detail drawings.



2.
Operable window sample, minimum 3”-0” x 2’-0”.


3.
Test reports documenting compliance with Section 1.02.

NOTE: Consult with CAPITOL for recommendations on alternate manufacturers and products meeting the design criteria and project requirements.  
1.02  
Testing and Performance Requirements

A. 
Testing shall be done in accordance with AAMA/WDMA/CSA 101/I.S.2/A440-08, and NFRC 100-2010 for aluminum prime windows.


B. 
The window shall meet the performance requirements listed below:



1.
AW Performance Class

AW-PG90 (60 x 36)-AP

AW-PG80 (60 x 99)-FW
2. 
Air Infiltration Test 
ASTM E283



- <0.01 cfm/ft2 @ 6.24 psf (50 mph)



3. 
Water Resistance Test 
ASTM E331/ASTM E547

- No leakage @ 15.0 psf 



4.
Forced Entry Resistance




ASTM F588 or AAMA 1302.5
- Grade 10





5.
Thermal Performance 
¼” glass, warm edge spacer, argon gas, ¼” soft coat low E glass
Projected (with Blind Access Panel)
0.45 (0.37)BTU/hr/ft2/F (U-Value)

Fixed (with Blind Access Panel) 
0.34 (0.27)BTU/hr/ft2/F (U-Value)

1.03  
Quality Assurance

A. 
Provide test reports from independent accredited laboratories certifying the performance as specified in 1.02.

B.
Test reports shall be accompanied by the window manufacturer's letter of certification, stating the tested window meets or exceeds the referenced criteria for the appropriate AAMA/WDMA/CSA 101/I.S.2/A440-08 window type.

1.04  
Submittals

A. Contractor shall submit shop drawings, test reports, finish samples and warranties.
1.05  
Warranties
A. 
All windows shall be guaranteed by the Manufacturer against defect in material and workmanship (except glass and screen) under normal use and service for a period of one (1) year from last date of shipment by Capitol Aluminum and Glass Corporation.
PART 2 - PRODUCTS
2.01  
Materials


A. 
Aluminum

      

1. 
Extruded sections shall be 6063-T5 or 6063-T6 alloy and temper.


   


2. 
Window frame and ventilator sash will utilize euro-groove technology.

B. 
Hardware

      



1. 
Hardware having component parts which are exposed shall be of 




aluminum, white bronze, or other non-corrosive material compatible with 



aluminum.  Cadmium or zinc plated steel, where used, must be in 




accordance with ASTM Specification A 164-71 or A 165-71.

      



2. 
Hardware and method of assembly shall not violate the thermal separation 



of the window frame or ventilator sash.

3. 
Ventilator sash shall be balanced on two supporting euro-groove mounting 4 bar heavy-duty stainless steel hinge arms.  Arms shall be designed with brass shoes operating in channels to provide sufficient friction to hold the sash firmly at any opening angle within their limits.

      



4. 
Cam handles shall be white bronze and designed for hand or pole 




operation as required.



5.
Optional Hardware:




a.
Rotary geared operator: Complying with AAMA 901 when tested 





according to ASTM E 405, Method A. Provide operators that 





function without requiring the removal of interior screens.



b.
Multipoint locking device




c.
Heavy duty butt hinges: Non-friction type throw, not less than two 





per sash.

C. 
Weather-stripping

1. 
All sash will have double weather-stripping made of thermoplastic elastomer product.




D. 
Thermal Barrier

1. 
Structural thermal barrier will consist of two reinforced polyamide nylon strips.
2.
Poured-in-place two part polyurethane thermal barriers are not acceptable.


E. 
Panning System 
      



1. 
Exterior panning system shall be of extruded aluminum and shall have a 



nominal wall thickness of .078".  The panning system shall be attached to 



the window frame and sealed by means of a liquid joint sealant.  




The panning header shall extend the full width of the window opening and 


shall cross the tops of the vertical side members providing a weather tight 



joint. Panning members shall be joined together into a unitized 




preassembled frame by appropriate and unexposed means consistent with 



industry practices.  All joints shall be back sealed.


   
2. 
Brake metal shall not be permitted for this application.

2.01  Materials (Continued)


F. 
Receptor System 

1. 
Consist of an extruded aluminum subframe base member with an aluminum snap retainer. Perimeter glazing tape shall be placed at the exterior surface between the receptor system and the window unit to provide a weather tight seal. The subframe base shall not be less than 
3-5/8" deep with an integral glazing fin not less than 1-1/4" high with wall thicknesses not less than .080".  Subframe base shall be designed with a structural thermal barrier consisting of two reinforced polyamide nylon strips.

Subframe base shall be secured to the masonry with appropriate fasteners and sealant. Window units shall be set into the subframe sill starter shall be designed with a structural thermal barrier consisting of two reinforced polyamide nylon strips. Sill starter shall be set in a bed of sealant. 


G. 
Insulation 

      



1. 
To insure the integrity of the thermal separation of the window unit and to 



provide maximum efficiency of the installation, insulation shall be applied 


in the open back area of the window frame.


   
2. 
Insulation shall be 1" Styrofoam or 2" #6 density fiberglass.

2.02  
Fabrication


A. 
General

      



1. 
Frame members comprising the main frame shall not be less than 3 1/4" 



in depth with wall thicknesses not less than .080".

2. 
Operable sash members shall not be less than 3-1/4" in depth and shall have wall thicknesses not less than .125" at hinge attachment points.
3.
Sash members less than 3 1/4" in depth not acceptable.      


4. 
Mechanical fasteners and hardware items shall not bridge thermal barriers. Thermal barriers shall align at all frame and sash corners.


B. 
Frame

      



1. 
Frame components shall be mortise and tenon and secured with screws 



into integral screw ports and each joint shall be back-sealed.


C. 
Sash

      



1. 
Sash corners shall be mitered and internally reinforced with a gusset and 



crimped.  All sash extrusions shall be tubular.
2. 
Each sash shall have two rows of weather-stripping installed in specifically designed grooves in the sash extrusion.

D. 
Glazing

1. 
Glazing materials shall be glazed against an integral fin with closed cell PVC foam tape or back-bedding tape and an extruded aluminum glazing bead with EPDM gasket meeting AAMA 800 specifications. 



2.
An exterior heal bead of sealant shall be applied where the glazing 




material meets the glazing fin.


E. 
Screens (Optional)



1. 
All screening shall be aluminum cloth, 18 x 16 mesh.

2. 
Project-out sash shall have interior mounted screens which have tracks 


permitting screen insert panels to be raised for operation of the sash lock 


or a sliding wicket screen in the event casing does not permit slider screen 

application.

      



3. 
Project-in sash shall have an extruded aluminum screen insert panel for 



inside mounting to the window.  Screen insert panel shall not be mounted 



to the exterior of the window by means of screws or clips.  All screening 



shall be aluminum cloth, 18 x 16 mesh.





4.
Casements shall have a sliding wicket or flat screen (per manufacturer's 






recommendation based on hardware and miniblind project requirements).

2.02  
Fabrication (continued)


F.
Aluminum integral blinds (Optional)

1.
All windows shall be furnished with an integral blind.  Owner to select blind color from manufacturers standard.

2.
All blinds to include 5/8” slats with mounting brackets and control knob hardware.  All tilting of blinds shall be performed without accessing the blinds.

3.
The system shall be a hinged, non-lift off type blind sash comprised of extruded aluminum and shall have a nominal wall thickness of .060" and 1/4" glass.  This system shall have a T-slot foam compression seal installed in a specifically designed groove in the extrusion, creating an air-tight seal to keep dust and other debris out. Screw applied lift off dust shield is not acceptable.
4.
The blind operator mechanism shall hold and tilt slats and be mechanically actuated using a positive gear drive system. Magnetic or string type actuators are not acceptable.
a.
Provide manufacturer's standard straight knob blind operator.

b.
Optional flush plate with removable hex key and pole ring


operators available upon request.

G. 
Finishes



- Clear Anodized 30-Minute Velo Class II

AA-M12-C22-A31

- Clear Anodized 60-Minute Velo Class I

AA-M12-C22-A41



- Dark Bronze Anodized 2-step Class I

AA-M12-C22-A44


- Champagne Anodized 2-step Class I

AA-M12-C22-A44



- FloroponR (70% PVDF)**



AAMA 2605



- DuranarR, DuranarR XL (70%PVDF)**

AAMA 2605



- AcroflurTM (50% PVDF)**



AAMA 2604



- AcrynarRFX (50% PVDF)**


AAMA 2604



- PolylureR 1500**




AAMA 2603



- DuracronR** 




AAMA 2603



**manufacturer’s standard colors

H.
Source Quality Control



1.
Provide aluminum windows specified herein from a single source.

2.
Building Enclosure System:
When aluminum windows is part of a building enclosure system, including entrances, entrance hardware, storefront and curtain wall framing and related products, provide building enclosure system products from a single source manufacturer.

2.03 
Glass and Glazing Accessories:  Refer to Section 088000

1. Tempered inboard and outboard insulated glass unit required when specifying integral blinds.
2.04
Sealants:  Refer to Section 079200

PART 3 - EXECUTION

3.01  
Inspection

A. 
Inspect openings before beginning installation.  Verify that openings are in 

accordance with approved shop drawings.  Openings are to be within allowable 

tolerances, plumb, level, and clean.  Provide a solid anchoring surface.
3.02  
Installation

   

A. 
Use only skilled workmen with work done in accordance with approved shop 


drawings and specifications.

   

B. 
Install windows plumb, square and adequately anchored to maintain positions 


permanently when subjected to normal thermal and building movement.


C. 
Adjust windows for proper operation after installation.

   

D. 
Furnish and apply sealants to provide a weather-tight installation at all joints and 


at opening perimeters.  Wipe off excess material and leave all exposed surfaces 


and joints clean and smooth.




E.
Dissimilar Materials:  Provide separation of aluminum materials from sources of 


corrosion or electrolytic action contact points.

3.03
Protection and Cleaning

A.
Protection:

Protect installed window systems finish surfaces from damage during construction.  (i.e. grinding, polishing compounds, plaster, lime, acid, cement, or other harmful contaminants).
B. Cleaning:

Remove temporary coverings and protection of adjacent work areas.  Repair or replace damaged installed products.  Clean installed products in accordance with manufacturer’s instructions prior to owner’s acceptance.  Remove construction debris from project site and legally dispose of debris.
DISCLAIMER STATEMENT

This guide specification is intended to be used by a qualified construction specifier.  The guide specification is not intended to be verbatim as a project specification without appropriate modifications for the specific use intended.  The guide specification must be used and coordinated with the procedures of each design firm, and the particular requirements of a specific construction project.

END OF SECTION 085113 (08520)






Capitol Aluminum & Glass Corporation, Revised September 2009


Capitol Aluminum & Glass Corporation, Revised August 2017

[image: image1.jpg]