[image: image1.jpg]%% CAPITOL

{7 ALUMINUM & GLASS CORP.







Page 1 of 5



SECTION  084113  (08410)

245T (CENTER-SET) ALUMINUM STOREFRONT SERIES
This suggested guide specification has been developed using the current edition of the Construction Specifications Institute (CSI) “Manual of Practice”, including the recommendations for the CSI 3 Part Section Format and the CSI Page Format.  Additionally, the development concept and organizational arrangement of the American Institute of Architects (AIA) MASTERSPEC Program have been recognized in the preparation of this guide specification.  The preparation of the guide specification assumes the use of standard contract documents and forms, including the “Conditions of the Contract”, published by the AIA.

PART 1 – GENERAL
1.01
Summary


A.
Section includes:
CAPITOL 245T Thermal Aluminum Storefront.
1.
Types of CAPITOL 245T Thermal Aluminum Storefront, 2" x 4 1/2" nominal dimension, thermal, center set, exterior glazed, weather-seal, screw spline, shear block, stick or punched opening fabrication


ED NOTE:  Below related sections are specified elsewhere, however, CAPITOL 



recommends single source responsibility for all of these sections as indicated in 



2.07 source quality control.

B.
Related sections:




1.
Section 085113 - Aluminum Windows



2.
Section 087100 - Hardware



3.
Section 084413 - Aluminum Curtain Wall System

4. Section 088000 – Glazing

5. Section 079200 – Sealants

1.02
References (Industry Standards)

ED NOTE:  Refer to index for any and all applicable standards.
1.03
System Performance Description


A.
Storefront System Performance Requirements:



NOTE:  Coordinate wind loads with applicable building code, or appropriate wind loads may be 

determined by using ANSI A58.1-1982, “Minimum Design Loads for Buildings and Other 


Structures”.  An allowable deflection less than 1/175 of clear span is industry standard.  Smaller 

deflections will often require use of heavier cross sections or internal reinforcements.


1.
Requirements shown by details are intended to establish basic dimension of unit, sight 



lines and profiles of members.



2.
Do not assume glass, sealants and interior finishes contribute to framing member 




strength, stiffness or lateral stability.



3.
Assemblies shall be free from rattles, wind whistles and noise due to thermal and 




structural movement and wind pressure.



4.
Attachment considerations are to take into account site peculiarities and expansion and 



contraction movements so there is no possibility of loosening, weakening or fracturing 



connection between units and building structure or between units themselves.



5.
Allow for expansion and contraction without detriment to appearance or performance.



6.
System shall drain to the exterior of system.

1.04
Submittals


A.
General:
Submit in accordance with Section 013000.


B.
Product Data:




1.
Submit manufacturer’s descriptive literature for each manufactured product.



2.
Include information for factory finishes, accessories and other required components.


C.
Shop Drawings:



1.
Submit drawings indicating elevations, detailed design, dimensions, member profiles, 



joint locations, arrangement of units and member connections.



2.
Show following items:




a.
Details of special shapes.




b.
Reinforcing.




c.
Anchor system.




d.
Interfacing with building construction.




e.
Provisions for expansion and contraction.




f.
Thermal breaks


3.
Indicate typical glazing details, (locations of various types and thickness of glass), and 



internal sealant requirements as recommended by sealant manufacturer.


4.
Clearly indicate locations of fasteners and joints for Architect’s acceptance.


D.
Test Reports:
Submit certified copies of previous test reports by independent laboratory 



substantiating performance of system.  Include other supportive data as necessary.


E.
Certificates:



1.
Submit manufacturer’s certification stating that installed system is in compliance with 



specified requirements.


F.
Qualification Data:



1.
Submit installer qualifications verifying years of experience.



2.
Include list of projects having similar scope of work identified by name, location, date, 



reference name and phone number.


G.
Manufacturer’s Instructions:




1.
Submit manufacturer’s printed installation instructions.


H.
Warranty:



1.
Submit specified warranties.

1.05 
Warranty


A.
Project Warranty:
Refer to “Conditions of the Contract” for project warranty provisions.


B.
Manufacturer’s Product Warranty:
Submit, for Owner’s acceptance, manufacturer’s warranty 


for storefront system as follows:



1.
Warranty Period:
One (1) year from last date of shipment by Capitol Aluminum and

Glass Corporation.

1.06
Quality Assurance


A.
Qualifications:



1.
Installer Qualifications:  Installer experienced to perform work of this section who has 



specialized in the installation of work similar to that required for this project and who is 



acceptable to product manufacturer.



2.
Manufacturer Qualifications:  Manufacturer capable of providing field service 




representation during construction, approving acceptable installer and approving 




application method.



3.
Per-Installation Meeting:  Conduct pre-installation meeting to verify project 




requirements, substrate conditions, manufacturer’s installation instructions and 




manufacturer’s warranty requirements.

1.07
Delivery, Storage and Handling


A.
Ordering:  Comply with manufacturer’s ordering instructions and lead time requirements to 


avoid construction delays.


B.
Packing, shipping, handling and unloading:  Deliver materials in manufacturer’s original, 



unopened, undamaged containers with identification labels intact.


C.
Storage and protection:  Store materials protected from exposure to harmful weather conditions.  


Handle storefront material and components to avoid damage.  

PART 2 – PRODUCTS

2.01
Manufacturers (Acceptable Manufacturers/Products)


A.
Acceptable manufacturers:



1.
Capitol Aluminum & Glass Corporation, 1276 W. Main Street, Bellevue, OH  44811




(419)483-7050 - (419)483-7830 fax




Proprietary Product(s)/System(s):
CAPITOL 245T Thermal Aluminum Storefront 


NOTE:
  Consult with CAPITOL for recommendations on alternate manufacturers and products 


meeting the design criteria and project requirements.  CAPITOL recommends other 



manufacturers requesting approval to bid their product as an equal must submit their request in 


writing ten (10) days prior to close of bidding.

2.02
Materials


A.
Aluminum (Storefront and Components):



1.
Material Standard:
Extruded Aluminum, ASTM B 221, 6063-T5 alloy and temper.



2.
Member Wall Thickness:
Each framing member shall have a wall thickness sufficient 


to meet the specified structural requirements.



3.
Tolerances:
Reference to tolerances for wall thickness and other cross-sectional 



dimensions of storefront members are nominal and in compliance with AA Aluminum 



Standards and Data.



4.
Trim Metal:
All interior and exterior trim metal shall be extruded aluminum sections 



and shall not be less than .060" in wall thickness.  Brake metal or formed aluminum sheet 


is not acceptable.

2.03
Accessories


A.
Fasteners:




1.
Aluminum, non-magnetic stainless steel or other materials warranted by manufacturer to 



be non-corrosive and compatible with components being fastened.



2.
For exposed locations, provide countersunk Phillips head screws with finish matching 



items fastened.



3.
For concealed locations, provide manufacturer’s standard fasteners.


B.
Glazing Gaskets:



1.
Compression type design, replaceable, molded or extruded neoprene, or ethylene 




propylene diene monomer (EPDM).



2.
Profile and hardness as necessary to maintain uniform pressure for watertight seal.



3.
Provide in manufacturer’s standard black color.


C.
Expansion Anchor Devices:  Lead-shield or toothed-steel, drilled-in, expansion bolt anchors.
2.04
Related Materials


A.
Glass and Glazing Accessories:



1.
Refer to Section 088000.


B.
Sealants



1.
Refer to Section 079200.

2.05
System Fabrication


A.
Take accurate field measurements to verify required dimensions prior to fabrication.


B.
Fabricate components in accordance with approved shop drawings.  Remove burrs and smooth 


edges.  Shop fabricate to greatest extent practicable to minimize field cutting, splicing and 


assembly.  Disassemble only to extent necessary for shipping and handling limitations.


C.
Fabricate components true to detail and free from defects impairing appearance, strength or 


durability.  (Fabricate custom extrusions indicated and as necessary for complete installation.)


D.
Provide structural reinforcing within framing members where required to maintain rigidity and 


accommodate design loads.


E.
Provide holes or slots, deflector plates, water deflectors and sealants to accommodate internal 


weep and drainage to the exterior of storefront system.


F.
Allow for adequate clearance around perimeter of system to enable proper installation and for 


thermal movement within system.


G.
Separate dissimilar metals with protective coating to prevent contact and corrosion.

2.06 
Aluminum Finishes

A.
Clear Anodized 60-Minute Velo Class I

AA-M12-C22-A41



Dark Bronze Anodized 2-step Class I


AA-M12-C22-A44


Bone White FluroponR (70% PVDF)


AAMA 2605


FluroponR (70% PVDF)**



AAMA 2605
**manufacturer’s standard colors
2.07
Source Quality Control


A.
Source Quality:
Provide aluminum storefront specified herein from a single source.



1.
Building Enclosure System:
When aluminum storefront is part of a building enclosure 



system, including entrances, entrance hardware, windows, curtain wall framing and 



related
products, provide building enclosure system products from a single source 



manufacturer.
PART 3 – EXECUTION

3.01
Examination


A.
Site Verification of Conditions:
Verify substrate conditions (which have been previously 


installed under other sections) are acceptable for product installation in accordance with 



manufacturer’s instructions.  Verify openings are sized to receive storefront system and sill 


plate is level in accordance with manufacturer’s acceptable tolerances.



1.
Field Measurements:
Verify actual measurements/openings by field measurements 



before fabrication; show recorded measurements on shop drawings.  Coordinate field 



measurements, fabrication schedule with construction progress to avoid construction 



delays.



3.02
Installation


A.
General:
Install storefront systems plumb. Level and true to line, without warp or rack of 


frames with manufacturer’s prescribed tolerances and installation instructions.  Provide support 


and anchor in place.



1.
Dissimilar materials:
Provide separation of aluminum materials from sources of 




corrosion or electrolytic action contact points.



2.
Weather-tight construction:
Install sill members and other members in a bed of sealant 



or with joint filler or gaskets, to provide weather-tight construction.  Coordinate 




installation with wall flashings and other components of construction.


B.
Related Products Installation Requirements:


1.
Sealants (Perimeter):
Refer to Division 7 Joint Treatment (Sealants) Section.



2.
Glass:
Refer to Division 8 Glass and Glazing Section.




a.
Reference:
ANSI Z97.1, CPSC 16 CFR 1201 and GANA Glazing Manual.
3.03
Protection and Cleaning


A.
Protection:
Protect installed storefront systems finish surfaces from damage during 





construction.  (i.e. grinding, polishing compounds, plaster, lime, acid, cement, 




or other harmful contaminants).


B.
Cleaning:
Remove temporary coverings and protection of adjacent work areas.  Repair or 




replace damaged installed products.  Clean installed products in accordance with 




manufacturer’s instructions prior to owner’s acceptance.  Remove construction 




debris from project site and legally dispose of debris.
DISCLAIMER STATEMENT

This guide specification is intended to be used by a qualified construction specifier.  The guide specification is not intended to be verbatim as a project specification without appropriate modifications for the specific use intended.  The guide specification must be used and coordinated with the procedures of each design firm, and the particular requirements of a specific construction project.

END OF SECTION 084113 (08410)
Capitol Aluminum & Glass Corporation, Revised September 2009


Capitol Aluminum & Glass Corporation, July 2017



[image: image1.jpg]